## Slide 1
Electrical Controls
PowerPoint to Accompany Lessons in
AAVIM, Electrical Controls Textbook by Dr. James Allison
PowerPoint Developed by
Sidney Bell

## Slide 2
L 1
C
N
Control Circuit Ladder Diagram
240 V single phase motor for a feed bin auger, controlled by a push button station, normally open limit switch and normally open motor relay

## Slide 3
Normally Open Limit Switch (N.O.)
Door closed
Limit switch
Door open
Limit switch

## Slide 4
Push Button Station
Normally Closed STOP
Normally Open
START

## Slide 5
Normally Open
Auxiliary Contacts

## Slide 6
C
Motor Contactor
120 V Coil

## Slide 7
L1
L2
T1
T2
DPST NO Relay (Contactor)
Coil
Auxiliary Contact
M

## Slide 8
L1
L2
T1
T2
N
M

## Slide 9
M
L1
L2
T1
T2
N

## Slide 10
DPST - NO Magnetic Starter 240V Coil
(Relay with an overload sensing component)
NEC 430.84 & 430.105
2
3
X2
X1
L1
T1
T2
L2
1

## Slide 11
M1
M2
M1
L1
L2
TD
THERMAL
TIME
DELAY
Ladder diagram of hammer mill and auger control circuit

## Slide 12
L2
1
L2
1
MOTOR
1
MOTOR
2
TD
THERMAL
TIME
DELAY
L1
L2

## Slide 13
L2
1
L2
1
MOTOR
1
MOTOR
2
TD
THERMAL
TIME
DELAY
L1
L2
Hammer mill
Auger

## Slide 14
Mechanical Timers
Lamps – 240 V
Two 240 V Lamps Controlled by Mechanical Timers
N
L1
L2
T1
T2